## Main_page_wide
Date | tube | Disk | Sex | HCT | CollectionDelaySeconds | Plas_initial | Plas_final | gplas_tot | Holdup | HCT_plas | UV280 | UV421 | UV600 | UV700 | Comments
2018-05-22 | 1 | 12H | M | 48 |  |  |  | 4.0157
2018-05-22 | 2 | 12H | M | 48 |  |  |  | 3.9188
2018-05-22 | 3 | 70deg_16 | M | 48 |  |  |  | 4.4285 | [9 empty] | Oneway Analysis of g_plas By Disk
2018-05-22 | 4 | 70deg_16 | M | 48 |  |  |  | 4.8489
2018-05-22 | 5 | 20deg_16 | M | 48 |  |  |  | 3.5715
2018-05-22 | 6 | 20deg_16 | M | 48 |  |  |  | 4.0187
2018-06-07 | 1 | 20deg_0 | M | 49 | 60 | 3.089 | 3.089 | 3.089 | 0.35 | 2.7 | [7 empty] | Std Err Dif | 0.25727 | DF | 6.7259
2018-06-07 | 2 | 70deg_0 | M | 49 | 60 | 2.4637 | 0.617 | 3.0807 | 0.55 | 3.185 | [7 empty] | Upper CL Dif | 1.3109 | Prob > ¦t¦ | 0.0313
2018-06-07 | 3 | 70deg_0 | M | 49 | 60 | 2.1307 | 0.8186 | 2.9493 | 0.8 | 3.81 | [7 empty] | Lower CL Dif | 0.08405 | Prob > t | 0.0157
2018-06-07 | 4 | 70deg_0 | M | 49 | 60 | 3.2942 | 0.5012 | 3.7954 | 0.6 | 3.895 | [7 empty] | Confidence | 0.95 | Prob < t | 0.9843
2018-06-07 | 5 | 20deg_0 | M | 49 | 60 | 3.2372 | 0.0847 | 3.3219 | 0.4 | 3.07
2018-06-07 | 6 | 20deg_0 | M | 49 | 60 | 3.2792 | 0.152 | 3.4312 | 0.5 | 3.79
2018-06-07 | 7 | 20deg_0 | M | 49 | 60 | 3.5135 | 0.2195 | 3.733 | 0.7 | 6.15 | [7 empty] | Excluded Rows | 3
2018-06-07 | 8 | 70deg_0 | M | 49 | 60 | 3.7809 | 0.1241 | 3.905 | 0.6 | 4.44
2018-06-13 | 1 | 70deg_0 | M |  | 30 | 3.0929 | 0.0495 | 3.1424
2018-06-13 | 2 | 70deg_0 | M |  | 30 | 3.5048 | 0.3642 | 3.869
2018-06-13 | 3 | 70deg_0 | M |  | 30 | 1.5943 | 0.1285 | 1.7228 | [6 empty] | Tube | Type | HCT
2018-06-13 | 4 | 12H | M |  | 30 | 4.211 | 0.2871 | 4.4981 | [6 empty] | 1 | whole | 49.3 | 0.31491 | SE
2018-06-13 | 5 | 20deg_0 | M |  | 30 | 3.2353 | 0.5803 | 3.8156 | [6 empty] | 1 | whole | 49.2 | 2.201 | t_crit_95
2018-06-13 | 6 | 70deg_0 | M |  | 30 | 3.1165 | 0.7525 | 3.869 | [6 empty] | 2 | whole | 48.7 | 0.69312 | 95% confidence
[15 empty] | 2 | whole | 49.2
[15 empty] | 3 | whole | 49.23
[15 empty] | 3 | whole | 49.25
[15 empty] | 4 | whole | 48.43
[15 empty] | 4 | whole | 49.62
[15 empty] | 5 | whole | 50.77
[15 empty] | 5 | whole | 49.25
[15 empty] | 6 | whole | 46.04
[15 empty] | 6 | whole | 49.23
[15 empty] | 1 | plasma | 2.9 | 0.18259 | SE
[15 empty] | 1 | plasma | 2.5 | 2.201 | t_crit_95
[15 empty] | 2 | plasma | 3.2 | 0.40189 | 95% confidence
[15 empty] | 2 | plasma | 3.17
[15 empty] | 3 | plasma | 3.07
[15 empty] | 3 | plasma | 4.55
[15 empty] | 4 | plasma | 4.52
[15 empty] | 4 | plasma | 3.27
[15 empty] | 5 | plasma | 3.07
[15 empty] | 5 | plasma | 3.07
[15 empty] | 6 | plasma | 3.68
[15 empty] | 6 | plasma | 3.9

## Hematocrit
Date | tube | Donor | Disk | Trough Volume | Sex | HCT | CollectionDelaySeconds | Plas_initial | Plas_final | gplas_tot | HCT_plas | HCT_trough | HCT_disk | g_disk | g_wiped | g_trough | control-3 | control-4 | control-5 | spin-3 | spin-4 | spin-5 | c_control-3 | c_control-4 | c_control-5 | c_spin-3 | c_spin-4 | c_spin-5 | bac_recovery
2018-05-22 | 1 |  | 12H | 4 | M | 0.48 | 0 | 0 | 0 | 4.0157 | 0 | 0 | 0 | 0 | 0 | 0
2018-05-22 | 2 |  | 12H | 4 | M | 0.48 |  |  |  | 3.9188
2018-05-22 | 3 |  | 70deg_16b | 4 | M | 0.48 |  |  |  | 4.4285
2018-05-22 | 4 |  | 70deg_16b | 4 | M | 0.48 |  |  |  | 4.8489
2018-05-22 | 5 |  | 20deg_16b | 4 | M | 0.48 |  |  |  | 3.5715
2018-05-22 | 6 |  | 20deg_16b | 4 | M | 0.48 |  |  |  | 4.0187
2018-06-07 | 1 |  | 20deg_0b | 4 | M | 0.49 | 60 | 3.089 | 3.089 | 3.089 | 0.027
2018-06-07 | 2 |  | 70deg_0b | 4 | M | 0.49 | 60 | 2.4637 | 0.617 | 3.0807 | 0.03185
2018-06-07 | 3 |  | 70deg_0b | 4 | M | 0.49 | 60 | 2.1307 | 0.8186 | 2.9493 | 0.0381
2018-06-07 | 4 |  | 70deg_0b | 4 | M | 0.49 | 60 | 3.2942 | 0.5012 | 3.7954 | 0.03895
2018-06-07 | 5 |  | 20deg_0b | 4 | M | 0.49 | 60 | 3.2372 | 0.0847 | 3.3219 | 0.0307
2018-06-07 | 6 |  | 20deg_0b | 4 | M | 0.49 | 60 | 3.2792 | 0.152 | 3.4312 | 0.0379
2018-06-07 | 7 |  | 20deg_0b | 4 | M | 0.49 | 60 | 3.5135 | 0.2195 | 3.733 | 0.0615
2018-06-07 | 8 |  | 70deg_0b | 4 | M | 0.49 | 60 | 3.7809 | 0.1241 | 3.905 | 0.0444
2018-06-13 | 1 |  | 70deg_0b | 4 | M |  | 30 | 3.0929 | 0.0495 | 3.1424
2018-06-13 | 2 |  | 70deg_0b | 4 | M |  | 30 | 3.5048 | 0.3642 | 3.869
2018-06-13 | 3 |  | 70deg_0b | 4 | M |  | 30 | 1.5943 | 0.1285 | 1.7228
2018-06-13 | 4 |  | 12H | 4 | M |  | 30 | 4.211 | 0.2871 | 4.4981
2018-06-13 | 5 |  | 20deg_0b | 4 | M |  | 30 | 3.2353 | 0.5803 | 3.8156
2018-06-13 | 6 |  | 70deg_0b | 4 | M |  | 30 | 3.1165 | 0.7525 | 3.869
2018-07-12 | 1 |  | 70deg_.05in_16b | 4 | F | 0.375 |  |  |  | 4.257
2018-07-17 | 1 |  | 16b_glossy | 4 | F | 0.47 |  |  |  | 4.1998 | 0.02
2018-07-17 | 2 |  | 16b_glossy | 4 | F | 0.47 |  |  |  | 4.3108 | 0.019
2018-07-17 | 3 |  | 16b_glossy | 4 | F | 0.47 |  |  |  | 4.34 | 0.03
2018-07-17 | 4 |  | 16b_glossy | 4 | F | 0.47 |  |  |  | 3.9965 | 0.025
2018-07-17 | 6 |  | 16b_glossy | 4 | F | 0.47 |  |  |  | 4.0605 | 0.03
2018-07-17 | 7 |  | 16b_glossy | 4 | F | 0.47 |  |  |  | 4.0001 | 0.025
2018-07-24 | 1 |  | 70deg_.05in_16b | 4 | M | 0.517 |  |  |  | 3.1945 | 0.03
2018-07-24 | 2 |  | 20deg_16b | 4 | M | 0.517 |  |  |  | 3.4407 | 0.06
2018-07-24 | 3 |  | 70deg_.05in_16b | 4 | M | 0.517 |  |  | 3.6162 | 2.9215 | 0.06
2018-07-24 | 4 |  | 70deg_.05in_16b | 4 | M | 0.517 |  |  | 3.773 | 2.9108 | 0.095
2018-07-24 | 5 |  | 70deg_.05in_16b | 4 | M | 0.517 |  |  |  | 3.59 | 0.05
2018-07-24 | 6 |  | 70deg_16b | 4 | M | 0.517 |  |  |  | 3.4674 | 0.07
2018-07-24 | 7 |  | 70deg_16b | 4 | M | 0.517 |  |  |  | 4.2597 | 0.123
2018-07-24 | 8 |  | 70deg_16b | 4 | M | 0.517 |  |  |  | 4.0509 | 0.105
2018-07-26 | 1 |  | 20deg_16b | 4 | M | 0.4925 |  |  |  | 4.2539 | 0.095
2018-07-26 | 2 |  | 16b_glossy | 4 | M | 0.4925 |  |  |  | 3.8674 | 0.042
2018-07-26 | 3 |  | 16b_glossy | 4 | M | 0.4925 |  |  |  | 4.0956 | 0.06
2018-07-26 | 4 |  | 16b_glossy | 4 | M | 0.4925 |  |  |  | 4.2212 | 0.055
2018-07-31 | 1 |  | 0b_glossy | 4 | M | 0.4625 |  |  |  | 3.5597 | 0
2018-07-31 | 2 |  | 0b_glossy | 4 | M | 0.4625 |  |  |  | 3.5875 | 0.0001
2018-07-31 | 3 |  | 0b_glossy | 4 | M | 0.4625 |  |  |  | 3.507 | 0
2018-07-31 | 4 |  | 0b_glossy | 4 | M | 0.4625 |  |  |  | 3.2778 | 0
2018-07-31 | 5 |  | 0b_glossy | 4 | M | 0.4625 |  |  |  | 3.5133 | 0
2018-07-31 | 6 |  | 0b_glossy | 4 | M | 0.4625 |  |  |  | 3.271 | 0
2018-07-31 | 7 |  | 0b_glossy | 4 | M | 0.4625 |  |  |  | 3.5008 | 0
2018-08-02 | 1 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.46375 |  |  |  | 4.0255 | 0.008
2018-08-02 | 2 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.46375 |  |  |  | 4.1316 | 0.003
2018-08-02 | 3 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.46375 |  |  |  | 3.8597 | 0
2018-08-02 | 4 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.46375 |  |  |  | 3.9461 | 0
2018-08-02 | 5 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.46375 |  |  |  | 3.741 | 0.001
2018-08-02 | 6 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.46375 |  |  |  | 3.8479 | 0.005
2018-08-02 | 7 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.46375 |  |  |  | 3.8579 | 0.003
2018-08-02 | 8 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.46375 |  |  |  | 3.9109 | 0
2018-08-07 | 1 |  | 20.05_16x3_glossy_peo | 4 | M | 0.5225 |  |  |  | 3.4178 | 0.03
2018-08-07 | 2 |  | 20.05_16x3_glossy_peo | 4 | M | 0.5225 |  |  |  | 3.5976 | 0.015
2018-08-07 | 3 |  | 20.05_16x3_glossy_peo | 4 | M | 0.5225 |  |  |  | 3.5705 | 0.017
2018-08-07 | 4 |  | 20.05_16x3_glossy_peo | 4 | M | 0.5225 |  |  |  | 3.764 | 0.021
2018-08-07 | 5 |  | 20.05_16x3_glossy_peo | 4 | M | 0.5225 |  |  |  | 3.5131 | 0.01
2018-08-07 | 6 |  | 20.05_16x3_glossy_peo | 4 | M | 0.5225 |  |  |  | 3.5007
2018-08-09 | 1 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.525 | 180 |  |  | 3.723 | 0.03
2018-08-09 | 2 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.525 | 180 |  |  | 4.0363 | 0.05
2018-08-09 | 3 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.6025 | 180 |  |  | 3.6203 | 0.155
2018-08-09 | 4 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.6 | 180 |  |  | 3.6728 | 0.163
2018-08-09 | 5 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.565 | 180 |  |  | 3.824 | 0.1
2018-08-09 | 6 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.56 | 180 |  |  | 3.7943 | 0.1
2018-08-09 | 7 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.425 | 180 |  |  | 3.9619 | 0
2018-08-14 | 1 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.505 | 180 |  |  | 3.6715 | 0.028
2018-08-14 | 2 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.505 | 180 |  |  | 3.7596 | 0.037
2018-08-14 | 3 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.505 | 180 |  |  | 3.7595 | 0.016
2018-08-14 | 4 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.438 | 180 |  |  | 4.0349 | 0
2018-08-14 | 5 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.57 | 180 |  |  | 3.7527 | 0.12295
2018-08-14 | 6 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.565 | 180 |  |  | 3.8732
2018-08-14 | 7 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.42 | 180 |  |  | 3.9572 | 0
2018-08-16 | 1 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.55 | 180 |  |  | 3.6721 | 0.155
2018-08-16 | 4 |  | 20.05_16x3_glossy_5mL | 5 | M | 0.652 | 180 |  |  | 4.1988 | 0.195
2018-08-16 | 5 |  | 20.05_16x3_glossy_5mL | 5 | M | 0.63 | 180 |  |  | 4.0291 | 0.15
2018-08-16 | 1 |  | 20.05_16x3_glossy_5mL | 5 | M | 0.46 | 180 |  |  | 3.7425 | 0
2018-08-16 | 2 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.46 | 180 |  |  | 3.4549 | 0.01
2018-08-16 | 3 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.46 | 180 |  |  | 3.5029 | 0.018
2018-08-16 | 4 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.473 | 180 |  |  | 3.5538 | 0.04
2018-08-16 | 5 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.522 | 180 |  |  | 3.5538 | 0.105
2018-08-16 | 6 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.525 | 180 |  |  | 3.5337 | 0.093
2018-08-16 | 7 |  | 20.05_16x3_glossy_3mL | 3 | M |  | 180 |  |  | 3.4444 | 0.23
2018-08-21 | 1 |  | 20.05_16x3_glossy_5mL | 5 | M | 0.502 | 180 |  |  | 3.8309 | 0.001 |  |  | 4.805 | 0.1923 | 4.6127
2018-08-21 | 2 |  | 20.05_16x3_glossy_5mL | 5 | M | 0.554 | 180 |  |  | 3.9666 | 0.072 |  |  | 4.9771 | 0.3973 | 4.5798
2018-08-21 | 3 |  | 20.05_16x3_glossy_5mL | 5 | M | 0.57 | 180 |  |  | 4.1524 | 0.092 |  |  | 4.944 | 0.274 | 4.67
2018-08-21 | 4 |  | 20.05_16x3_glossy_5mL | 5 | M | 0.601 | 180 |  |  | 4.2434 | 0.133 |  |  | 4.891 | 0.1816 | 4.7094
2018-08-21 | 5 |  | 20.05_16x3_glossy_5mL | 5 | M | 0.608 | 180 |  |  | 4.143 | 0.141 |  |  | 4.97 | 0.3379 | 4.6321
2018-08-21 | 6 |  | 20.05_16x3_glossy_5mL | 5 | M | 0.524 | 180 |  |  | 4.2028 | 0.026 |  |  | 4.944
2018-08-22 | 1 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.48 | 30 |  |  | 3.6593 | 0
2018-08-22 | 2 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.48 | 30 |  |  | 3.5757 | 0.001 |  |  | 5.0288 | 0.5693 | 4.4595
2018-08-22 | 3 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.48 | 0 |  |  | 3.707 | 0.001 |  |  | 4.8085 | 0.4254 | 4.3831
2018-08-22 | 4 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.48 | 60 |  |  | 3.8822 | 0.01 |  |  | 4.7088 | 0.3083 | 4.4005
2018-08-22 | 5 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.48 | 60 |  |  | 3.8551 | 0.003 |  |  | 4.7257 | 0.3632 | 4.3625
2018-08-22 | 6 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.48 | 0 |  |  | 3.8404 | 0.001 |  |  | 4.7304 | 0.4233 | 4.3071
2018-08-28 | 1 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.55 | 30 |  |  | 3.3854 | 0.07 |  | 0.84 | 4.7157 | 0.2828 | 4.4329
2018-08-28 | 2 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.55 | 60 |  |  | 3.7956 | 0.083 |  | 0.86 | 4.8169 | 0.4297 | 4.3872
2018-08-28 | 3 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.55 | 30 |  |  | 3.7588 | 0.095 |  | 0.836 | 4.7871 | 0.3467 | 4.4404
2018-08-28 | 4 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.55 | 0 |  |  | 3.9171 | 0.095 |  | 0.88 |  |  | 4.4031
2018-08-28 | 5 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.55 | 60 |  |  | 3.9286 | 0.095 |  |  | 4.768 | 0.3221 | 4.4459
2018-08-28 | 6 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.55 | 0 |  |  | 3.7869 | 0.075 |  |  | 4.9053 | 0.4134 | 4.4919
2018-08-28 | 7 |  | 20.05_16x3_glossy_4mL | 4 | M | 0.55 | 0 |  |  | 3.7909 | 0.085 |  | 0.873 | 4.9136 | 0.4452 | 4.4684
2018-08-30 | 1 |  | 20.05_16x3_glossy_peo | 4 | M | 0.435 | 180 |  |  | 3.632 | 0 |  | 0.805
2018-08-30 | 2 |  | 20.05_16x3_glossy_peo | 4 | M | 0.46 | 180 |  |  | 3.7984 | 0.001 |  | 0.885
2018-08-30 | 3 |  | 20.05_16x3_glossy_peo | 4 | M | 0.515 | 180 |  |  | 3.8497 | 0.04 |  | 0.84
2018-08-30 | 4 |  | 20.05_16x3_glossy_peo | 4 | M | 0.51 | 180 |  |  | 3.8971 | 0.03 |  | 0.82
2018-08-30 | 5 |  | 20.05_16x3_glossy_peo | 4 | M | 0.565 | 180 |  |  | 3.7072 | 0.08 |  | 0.865
2018-08-30 | 6 |  | 20.05_16x3_glossy_peo | 4 | M | 0.565 | 180 |  |  | 3.7016 | 0.11 |  | 0.83
2018-09-06 | 1 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.51 | 180 |  |  | 3.4832 | 0.1 | 0.86 | 0.8
2018-09-06 | 2 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.51 | 180 |  |  | 3.6599 | 0.08 | 0.865 | 0.715
2018-09-06 | 3 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.51 | 180 |  |  | 3.4425 | 0.09 | 0.845 | 0.78
2018-09-06 | 4 |  | 20.05_16x3_glossy_3mL | 3 | M | 0.51 | 180 |  |  | 3.5476 | 0.083 | 0.85 | 0.79
2019-04-09 | 1 | A | 20.05_8x3_glossy_4mL | 4 | F | 0.483 |  |  |  | 4.011 | 0.02
2019-04-09 | 2 | A | 20.05_8x3long_glossy_4mL | 4 | F | 0.483 |  |  |  | 3.9782 | 0.015
2019-04-09 | 3 | A | 20.05_8x3_glossy_4mL | 4 | F | 0.483 |  |  |  | 3.9954 | 0.01
2019-04-09 | 4 | A | 20.05_8x3long_glossy_4mL | 4 | F | 0.483 |  |  |  | 4.003 | 0.01
2019-04-09 | 5 | A | 20.05_8x3_glossy_4mL | 4 | F | 0.483 |  |  |  | 3.9878 | 0.01
2019-04-09 | 6 | A | 20.05_8x3long_glossy_4mL | 4 | F | 0.483 |  |  |  | 3.915 | 0.005
2019-04-09 | 2 | B | 20.05_8x3_glossy_4mL | 4 | F | 0.4 |  |  |  | 3.7788 | 0
2019-04-09 | 3 | B | 20.05_8x3long_glossy_4mL | 4 | F | 0.4 |  |  |  | 4.0202 | 0
2019-04-09 | 4 | B | 20.05_8x3_glossy_4mL | 4 | F | 0.4 |  |  |  | 4.0479 | 0
2019-04-09 | 5 | B | 20.05_8x3long_glossy_4mL | 4 | F | 0.4 |  |  |  | 4.0848 | 0
2019-04-09 | 6 | B | 20.05_8x3_glossy_4mL | 4 | F | 0.4 |  |  |  | 4.0335 | 0
2019-04-16 | 1 | A | Moat_glossy | 4 | F | 0.4 |  |  |  | 4.18 | 0 | [6 empty] | 239 | 25 | 411 | 48 | 7 | 0 | 47800000 | 50000000 | 8220000 | 9600000 | 14000000 | 0.10269
2019-04-16 | 2 | A | 20.05_8x3long_0.75x9mm_glossy | 4 | F | 0.4 |  |  |  | 4.091 | 0 | [6 empty] | 206 | 33 | 490 | 74 | 4 | 0 | 41200000 | 66000000 | 9800000 | 14800000 | 8000000 | 0.13901
2019-04-16 | 3 | A | 20.05_16x3_glossy_4mL | 4 | F | 0.4 |  |  |  | 4.1455 | 0.001 | [6 empty] | 276 | 29 | 486 | 87 | 6 | 0 | 55200000 | 58000000 | 9720000 | 17400000 | 12000000 | 0.10428
2019-04-16 | 4 | A | Moat_glossy | 4 | F | 0.4 |  |  |  | 3.7569 | 0 | [6 empty] | 229 | 26 | 496 | 67 | 6 | 0 | 45800000 | 52000000 | 9920000 | 13400000 | 12000000 | 0.11625
2019-04-16 | 5 | A | 20.05_8x3long_0.75x9mm_glossy | 4 | F | 0.4 |  |  |  | 4.0788 | 0.001 | [5 empty] | 774 | 222 | 31 | 489 | 66 | 9 | 15480000 | 44400000 | 62000000 | 9780000 | 13200000 | 18000000 | 0.12835
2019-04-16 | 6 | A | 20.05_16x3_glossy_4mL | 4 | F | 0.4 |  |  |  | 4.2994 | 0.001 | [5 empty] | 750 | 198 | 18 | 429 | 72 | 5 | 15000000 | 39600000 | 36000000 | 8580000 | 14400000 | 10000000 | 0.13308
2019-04-16 | 1 | B | 20.05_16x3_glossy_4mL | 4 | F | 0.45 |  |  |  | 3.9856 | 0 | [6 empty] | 123 | 14 | 392 | 42 | 4 | 0 | 24600000 | 28000000 | 7840000 | 8400000 | 8000000 | 0.18146
2019-04-16 | 2 | B | Moat_glossy | 4 | F | 0.45 |  |  |  | 3.8243 | 0 | [6 empty] | 67 | 4 | 421 | 56 | 3 | 0 | 13400000 | 8000000 | 8420000 | 11200000 | 6000000 | 0.34329
2019-04-16 | 3 | B | 20.05_8x3long_0.75x9mm_glossy | 4 | F | 0.45 |  |  |  | 4.2528 | 0.001 | [6 empty] | 52 | 5 | 466 | 77 | 7 | 0 | 10400000 | 10000000 | 9320000 | 15400000 | 14000000 | 0.54445
2019-04-16 | 4 | B | 20.05_16x3_glossy_4mL | 4 | F | 0.45 |  |  |  | 3.8515 | 0 | [6 empty] | 75 | 33 | 417 | 76 | 7 | 0 | 15000000 | 66000000 | 8340000 | 15200000 | 14000000 | 0.30592
2019-04-16 | 5 | B | Moat_glossy | 4 | F | 0.45 |  |  |  | 3.6371 | 0 | [6 empty] | 98 | 5 | 362 | 56 | 7 | 0 | 19600000 | 10000000 | 7240000 | 11200000 | 14000000 | 0.19193
2019-04-16 | 6 | B | 20.05_8x3long_0.75x9mm_glossy | 4 | F | 0.45 |  |  |  | 4.1421 | 0.001 | [6 empty] | 89 | 8 | 404 | 60 | 5 | 0 | 17800000 | 16000000 | 8080000 | 12000000 | 10000000 | 0.2686
2019-05-02 | 1 | A | 20.05_8x3_1.25x7mm | 4 | M | 0.56 |  |  |  | 3.8881 | 0.065
2019-05-02 | 2 | A | Moat2_glossy | 4 | M | 0.56 |  |  |  | 3.1801 | 0.008
2019-05-02 | 3 | A | 20.05_8x3_1.25x9mm | 4 | M | 0.56 |  |  |  | 3.7062 | 0.004
2019-05-02 | 4 | A | 20.05_8x3_1.25x7mm | 4 | M | 0.56 |  |  |  | 4.0615 | 0.07
2019-05-02 | 5 | A | Moat2_glossy | 4 | M | 0.56 |  |  |  | 3.4094 | 0.005
2019-05-02 | 6 | A | 20.05_8x3_1.25x9mm | 4 | M | 0.56 |  |  |  | 3.8725 | 0.045
2019-05-02 | 1 | A | 20.05_8x3_1.25x7mm | 4 | F | 0.415 |  |  |  | 4.1994 | 0
2019-05-02 | 2 | A | 20.05_8x3_1.25x9mm | 4 | F | 0.415 |  |  |  | 4.086 | 0
2019-05-02 | 3 | A | Moat2_glossy | 4 | F | 0.415 |  |  |  | 2.9223 | 0
2019-05-02 | 4 | A | 20.05_8x3_1.25x7mm | 4 | F | 0.415 |  |  |  | 4.2633 | 0
2019-05-02 | 5 | A | 20.05_8x3_1.25x9mm | 4 | F | 0.415 |  |  |  | 4.0394 | 0
2019-05-02 | 6 | A | Moat2_glossy | 4 | F | 0.415 |  |  |  | 3.4912 | 0
Note on J31: Author: I used the pipet tip to pull down extra. Doing that pulled down an extra 0.7-0.8g plasma. The wetting resistance forces from the weir are not to be ignored in the analysis.
Note on O93: Author: The raw weights are written in my lab book for this day. This value is "g Disk" - 62.9855g
Note on P93: Author: This is the difference between g_disk and g_wiped in my lab book
Note on Q93: Author: This is g_disk minus g_wiped

## Bad data
Date | tube | Disk | Sex | HCT | g_plas1 | g_plas2 | gplas_tot | Holdup | HCT_plas | UV280 | UV421 | UV600 | UV700 | Comments
2018-05-29 | 1 | 70deg | M | 0.57 |  |  | 3.7784 |  | 0.125 | 0.33327 | 2.6996 | 0.04804 | 0.02394 | lysed
2018-05-29 | 2 | 70deg | M | 0.489 |  |  | 4.116 |  | 0.191 |  |  |  |  | lysed
2018-05-29 | 3 | 70deg | M | 0.48333 |  |  | 4.2638 |  | 0.19 |  |  |  |  | lysed
2018-05-29 | 4 | 20deg | M | 0.483 |  |  | 3.1095 |  | 0.16667 |  |  |  |  | lysed
2018-05-29 | 5 | 20deg | M | 0.48387 |  |  | 3.6589 |  | 0.18286 | 0.4062 | 3.1539 | 0.044467 | 0.0183 | lysed
Note on J3: Author: lighter color. Darker cell pack H=0.164